208 N. 12th Avenue

Eldridge, IA 52748 Mehta Tech Inc. Phone: (563) 285-9151

Fax: (563) 285-7576

www.mehtatech.com

**Read Me**

**USB Interface Driver Selection**

Mehta Tech provides three USB interface drivers. Use the following information to determine which driver needs to be installed.

If the equipment to be accessed is an IPCU 2 then browse to the folder named “DFR with RevB interface and IPCU 2 Console Port” and follow the installation procedure in that folder.

If the equipment to be accessed is a DFR Electronics chassis with the USB Rev B interface, see criteria below, then browse to the folder named “DFR with RevB interface and IPCU 2 Console Port” and follow the installation procedure in that folder.

|  |
| --- |
|  |

A DFR Electronics Chassis with the USB Rev B interface is identified as follows:  DFR Electronics Chassis has a serial number of 100544 or higher  The rear of the DFR Electronics Chassis has a label reading:

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Company  Substation |
| TRANSCAN Recorder . . . |  |  |  |  |  | Purchase Order.: . . . |
| Includes USB Interface Rev. B |  |  |  |  |  | Job No.: . . . |

If the DFR Electronics Chassis was supplied prior to December 2016 or is one that does NOT match the above criteria, browse to the “USB Driver DFR with RevA interface” folder and follow the installation procedure.